# Request for Proposal — Smart Factory IoT Platform

# 1. Client / Organisation

Umbrella Industrial

# 2. RFP Reference Number

RFP-2026-IOT-512

# 3. Solution Domain

Manufacturing / IoT

# 4. Region

Europe (EU)

# 5. Submission Deadline

05 Aug 2026

# 6. Background

Umbrella Industrial seeks an Industrial IoT platform to connect factory equipment, enable predictive maintenance, and provide real-time production analytics across three plants.

# 7. Functional Requirements

Connect and ingest telemetry from 12,000 industrial sensors.

Provide predictive maintenance models for critical machinery.

Deliver real-time OEE (Overall Equipment Effectiveness) dashboards.

Support edge processing for low-latency control loops.

Integrate with the existing MES and ERP systems.

# 8. Non-Functional Requirements

Ingest at least 1 million data points per second.

Edge-to-cloud latency under 100 ms.

Platform availability of 99.9%.

# 9. Compliance & Security Requirements

Comply with IEC 62443 industrial cybersecurity standards.

GDPR compliance for any operator personal data.

Data sovereignty within the EU.

# 10. Commercial / Pricing Line Items

IoT platform subscription (per sensor per month, 12000 sensors)

Edge gateway hardware (per unit, 60 units)

Analytics & ML services (per month)

Onboarding & integration (labor, estimated 1500 hours)

# 11. Evaluation Criteria

Platform & analytics 40%

Integration approach 20%

Security & compliance 20%

Price 20%

# 12. Submission Instructions

Responses must be submitted in PDF or DOCX format by the submission deadline.

Vendors must address every functional and compliance requirement explicitly.

Pricing must be itemised and valid for 90 days.